## Slide 1: Database Services During Run2
WLCG Collaboration Workshop
Okinawa April 11th,2015
Luca Canali, CERN IT-DB

## Slide 2: Outline
Status, evolution and readiness for RUN 2 of Oracle database services
DB on Demand service
Scale-out Databases on HADOOP

## Slide 3: Oracle Database Services – Evolution in LS1
Software upgrades
  Upgraded Oracle version for all DBs
  Moved to RHEL6 and puppet
Hardware upgrades
  New generation of servers and storage
  Production now in the BARN (critical power)
  Disaster-recovery from Safehost to Wigner
SW upgrades have combined with HW move
  Has allowed to reduce downtime and risk

## Slide 4: New Servers – More Capacity
New DB servers have more memory
From 48GB -> to 128GB / 256GB
Beneficial for performance of transactional workloads
Also increased CPU capacity (N# cores from 8 to 16)
HW Migration
Notes: Old servers deployed Westmere (E5630), new servers use Sandy Bridge (E5-2650)

## Slide 5: Storage Evolution: Increased Capacity and Performance
 | NetApp FAS3240 (OLD) | NetApp FAS8060 (NEW)
NVRAM | 1.0 GB | 8.0 GB
System memory | 8GB | 64GB
CPU | 1 x 64-bit 4-core 2.33 Ghz | 2 x 64-bit 8-core 2.10 Ghz
SSD layer (maximum) | 512GB | 8TB
Aggregate size | 180TB | 400TB
OS controller | Data ONTAP® 7-mode | Data ONTAP® C-mode*

## Slide 6: Notable Software Changes
Oracle version evolution
  Production upgraded to Oracle 11.2.0.4
    Proven to be a stable version, smooth upgrades
  12.1.0.2 is the latest available version
    Currently upgrading 12.1.0.1 DBs to this release
  Oracle has announced the next release, 12.2, for 2016
PVSS upgrades
  Upgraded all WINCC/PVSS schemas to latest version 8.9 CERN 1.2

## Slide 7: Notable New Oracle DB Services
QPSR
Quench Protection System
WinCC/PVSS data, sustained rate ~150 K rows/second
1M rows/second peak achieved during stress testing
Performance of the new HW instrumental to achieve this
SCADAR
Consolidated WinCC/PVSS archive repository
Will store ~50K rows/second (may increase in the future)
the data retention varies depending on the application (from a few days to 5 years)

## Slide 8: Replication Evolution
Technology evolution:
  Conditions replication to Atlas Tier 1 sites now uses Golden Gate
  Replication from online to offline DBs
    Active Data Guard
    Some reaming use of streams set to phase out
See also
  “Evolution of Database Replication Technologies for WLCG”, CHEP Monday 13/4 at 14:15

## Slide 9: Some Important Trends for Transactional Databases
Server capacity is growing fast also for commodity HW
  Large increase in available memory
  SSD storage becoming more affordable
  Servers have increasing CPU power (typically more cores)
Opportunities
  Consolidation: reduce HW and management costs
  Review of application architectures
    More and more DB workloads fit into server memory
    Opportunity to reduce complexity in favour of simpler architectures

## Slide 10: CERN Oracle Databases have run successfully in RUN1
~100 Oracle databases, most of them RAC
  ~500 TB of data files for production DBs in total
  Used for physics, IT, accelerators, administration
Oracle is feature-rich
  Enterprise class DB
  Solutions for high availability, disaster recovery, backup, monitoring, replication, proven for concurrent transactional processing
  Oracle DBAs available for consultancy

## Slide 11: DB on Demand
Self-service for provisioning, management, backup
  The number of deployed instances is growing
  MySQL (85%), PostgreSQL (10%) and Oracle (5%)
Time
Number
of deployed DBoD Instances

## Slide 12: Additional Stats for DBoD
Openstack
Puppetdb (MySQL)
LHCB-dirac
Atlassian databases
LCG VOMS
Geant4
Hammercloud dbs
Webcast
QC LHC Splice
FTS3
DRUPAL
CERNVM
VCS
IAXO
UNOSAT
…

## Slide 13: DBoD new monitoring tool
Appdynamics
Allows DBoD users to troubleshoot performance problems with a GUI interface

## Slide 14: DBoD Evolution
Completed:
  Migration to new HW (servers and storage)
  Migration to CERN Agile Infrastructure
  High Availability cluster solution based on Oracle
Plans for 2015:
  Automation: instance creation, storage, puppet…
    Reduce waiting time to obtain your instance
  Cloning
    Backups verification
    Test schema/DBMS upgrades
  Replication: MySQL & PostgreSQL
    Business continuity and data protection
  Upgrades: Oracle 12.1, MySQL 5.6.x, PostgreSQL 9.3.x
See also: CHEP poster “Database on Demand” by Ruben Gaspar Aparicio and Ignacio Coterillo

## Slide 15: Support Levels in RUN 2
Oracle Database Service support
  24/7 CERN piquet in Run 1
A review has been made with the experiments for Run2
  Oracle piquet support will start mid May 2015
  We will then re-evaluate in 2016 if needed
DB-on-demand services have grown from being “nice to have” to being essential to both experiment and Grid services
    New management interface and monitoring with AppDynamics
    A best effort SLA will be provided for a number of critical databases, details to be announced later in 2015

## Slide 16: Scale-out Databases
Scale-out, shared-nothing architectures have appeared and are quickly growing in adoption
  Performance and low-cost
  Back-end: HADOOP or DB-specific
    Engine on top of HADOOP cluster
Useful for
  Data warehousing, reporting, analytics workloads
  Ex: Logging systems, controls dashboards, auditing, archives

## Slide 17
Interconnect
Node 1
Node 2
Node n
Queries run in parallel on the cluster nodes
The shared nothing architecture allows to scale for high capacity and throughput on commodity HW
Example of Oracle RAC deployed with shared storage

## Slide 18: Hadoop Ecosystem and Databases
It’s a full ecosystem, many components
  HDFS provides the shared-nothing scalability
  Specialized data formats for
    compression, partitioning and column-oriented storage
  Query engines
    Declarative (SQL) Impala, Spark SQL, Hive
    Imperative: Yarn/Map Reduce, Spark
  Loading tools also important (sqoop, flume, ..)

## Slide 19: Offloading Data into HADOOP
  We are building HADOOP-based systems for offloading resource-intensive queries
    Controls data (PVSS) write once read-many
    Accelerator log DB is now 200 TB + 90 TB/year
    Offline database for SCADA (EN controls)
Analytics: working with CMS on popularity
    Projects in collaboration IT-DB and IT-DSS
See also CHEP poster “Scale out database for CERN use cases” Z. Baranowski et al.

## Slide 20: Conclusions
Oracle database services
  Proven and stable infrastructure and support levels
  Hardware refresh and software upgrades during LS1
Database on demand services
  Established platform and growing fast
  Offer MySQL, PostgreSQL and Oracle services
HADOOP-based databases
  For data warehouse, reporting and analytics
  First results very promising, more development in progress
  Many thanks to the experiments, application DBAs and Tier 1 DBAs for their help and collaboration